DECLARATION OF CONFORMITY

FULL QUALITY ASSURANCE SYSTEM

| Product Name: | Trigger-Flex Quad Pro |
| --- | --- |
| Model Numbers: | DTFQM-24B, DTFQM-31, DTFQM-32, DTFQM-40 |
| GMDN Code: | Endoscopic electrosurgical handpiece/electrode, bipolar, single use [57944] |
| Device Classification: | IIb, Rule 9 |
| Applied Standards: | EN ISO 14971:2012 EN ISO 15223-1:2016 EN 1041:2008+A1:2013 | IEC 60601-1:2005/A1:2012 IEC 60601-2-2:2009 ISO 11135:2014 ISO 13485:2016 |
| Manufacturer: | ELLIQUENCE, LLC 2455 Grand Avenue Baldwin, New York 11510 USA | Phone: (516) 277-9000 Fax: (516) 277-9001 Email: quality@elliquence.com |
| EU Representative: | EMERGO EUROPE Westervoortsedijk 60 6827 AT Arnhem The Netherlands | Phone: +31.70.345.8570 Fax: +31.70.346.7299 Email: service@emergogroup.com |
| Notified Body & Identification Number: | INTERTEK SEMKO AB Kista, Sweden 0413 |
| EC Certificate Number: | 41316578-04 |
| Lot #: |  |

This declaration of conformity is issued under the sole responsibility of the manufacturer. The object of the declaration described above is in conformity with the relevant Community Harmonization Legislation. I hereby declare that the products specified above meet the requirements set forth in LVFS 2003:11 and Council Directive MDD 93/42/EEC, MDD Annex II (3) and conform to the identified harmonized standards. In addition, the object of the declaration described above is in conformity with RoHS Directive 2011/65/EU (RoHS 2) of the European Parliament and of the Council of 8 June 2011 on the restriction of the use of certain hazardous substances in electrical and electronic equipment. [RoHS]

|  |  | January 17, 2024 |
| --- | --- | --- |
| Alan Ellman, CEO |  | Date |